## Proficiency Testing
Parameter | Laboratory | Units | Reported Value | Assigned Value | Acceptance Limits | Acceptable (Yes, No) | Study Number
Aluminum | EBL | mg/L | 575 | 663 | 523 - 801 | Yes | WP137
Aluminum | SES | mg/L | 699 | 663 | 523 - 801 | Yes | WP137
Aluminum | SES | mg/L | 684 | 663 | 523 - 801 | Yes | WP137
Ammonia | SES | mg/L | 17.3 | 16.6 | 12.4 - 20.5 | Yes | WP137
Biochemical Oxygen Demand | I&SD | mg/L | 113 | 102 | 51.5 - 152 | Yes | WP138
Biochemical Oxygen Demand | SES | mg/L | 31.1 | 28.2 | 13.9 - 42.4 | Yes | WP137
Cadmium | EBL | mg/L | 354 | 369 | 315 - 419 | Yes | WP137
Cadmium | SES | mg/L | 337 | 369 | 315 - 419 | Yes | WP137
Cadmium | SES | mg/L | 374 | 369 | 315 - 419 | Yes | WP137
Ceriodaphnia dubia | SES | % | 50 | 50 | 25.0 - 100 | Yes | na
Ceriodaphnia dubia | SES | % | 33.1 | 42 | 6.60 - 77.4 | Yes | na
Ceriodaphnia dubia | SES | % | 25 | 25 | 12.5 - 50.0 | Yes | na
Chromium | EBL | mg/L | 700 | 701 | 611 - 793 | Yes | WP137
Chromium | SES | mg/L | 717 | 701 | 611 - 793 | Yes | WP137
Copper | EBL | mg/L | 630 | 628 | 565 - 691 | Yes | WP137
Copper | SES | mg/L | 620 | 628 | 565 - 691 | Yes | WP137
Copper | SES | mg/L | 625 | 628 | 565 - 691 | Yes | WP137
Fecal Coliform | I&SD | MPN/100mL | 540 | 1180 | 131 - 10600 | Yes | WP137
Iron | EBL | mg/L | 1100 | 1120 | 990 - 1260 | Yes | WP137
Iron | SES | mg/L | 1180 | 1120 | 990 - 1260 | Yes | WP137
Lead | EBL | mg/L | 990 | 996 | 873 - 1110 | Yes | WP137
Lead | SES | mg/L | 995 | 996 | 873 - 1110 | Yes | WP137
Lead | SES | mg/L | 1040 | 996 | 873 - 1110 | Yes | WP137
Manganese | EBL | mg/L | 1550 | 1530 | 1380 - 1700 | Yes | WP137
Manganese | SES | mg/L | 1610 | 1530 | 1380 - 1700 | Yes | WP137
Manganese | SES | mg/L | 1550 | 1530 | 1380 - 1700 | Yes | WP137
Mercury | EBL | mg/L | 7.64 | 6.85 | 4.23 - 9.36 | Yes | WP137
Mercury | SES | mg/L | 7.2 | 6.85 | 4.23 - 9.36 | Yes | WP137
Mercury | SES | mg/L | 6.88 | 6.85 | 4.23 - 9.36 | Yes | WP137
Nickel | EBL | mg/L | 879 | 871 | 784 - 973 | Yes | WP137
Nickel | SES | mg/L | 904 | 871 | 784 - 973 | Yes | WP137
Nickel | SES | mg/L | 901 | 871 | 784 - 973 | Yes | WP137
Oil & Grease | SES | mg/L | 55.4 | 65 | 43.8 - 77.6 | Yes | WP138
Oil & Grease | SES | mg/L | 39.9 | 52.5 | 39.1 - 63.8 | Yes | WP137
Oil & Grease | SES | mg/L | 7.1 | 52.5 | 34.1 - 63.8 | No | WP137
PH | I&SD | su | 6.7 | 6.7 | 6.50 - 6.90 | Yes | WP138
PH | EP&M | su | 7.93 | 8 | 7.80 - 8.20 | Yes | WP137
PH | WSMS | su | 7.41 | 7.45 | 7.25 - 7.65 | Yes | DMR-QA 26
Silver | EBL | mg/L | 516 | 515 | 442 - 590 | Yes | WP137
Silver | SES | mg/L | 535 | 515 | 442 - 590 | Yes | WP137
Total Residual Chlorine | WSMS | mg/L | 1.03 | 1.05 | 0.765 - 1.31 | Yes | DMR-QA 26
Total Suspended Solids | EBL | mg/L | 88.3 | 94.9 | 78.4 - 105 | Yes | WP137
Total Suspended Solids | I&SD | mg/L | 67 | 76.3 | 62.0 - 85.2 | Yes | WP138
Total Suspended Solids | SES | mg/L | 95 | 94.9 | 78.4 - 105 | Yes | WP137
Zinc | EBL | mg/L | 1260 | 1290 | 1110 - 1480 | Yes | WP137
Zinc | SES | mg/L | 1310 | 1290 | 1110 - 1480 | Yes | WP137
Zinc | SES | mg/L | 1220 | 1290 | 1110 - 1480 | Yes | WP137
SES = Shealy Environmental Services Laboratory
I&SD = Washington Savannah River Company Infrastructure & Services Department Laboratory
EBL = Washington Savannah River Company Environmental Bioassy Laboratory
EP&M = Washington Savannah River Company Environmental Permitting & Monitoring Laboratory
WSMS = Westinghouse Safety Management Solutions