## Proficiency Testing
Water Pollution Proficiency Testing Studies
Parameter | Laboratory | Units | Reported Value | Assigned Value | Acceptance Limits | Acceptable (Yes, No) | Study Number
Aluminum | SES | mg/l | 1640 | 1410 | 1150 - 1660 | Yes | WP149
Aluminum | EBL | mg/l | 1410 | 1410 | 1150 - 1660 | Yes | WP149
Ammonia | SES | mg/l | 5.19 | 11.6 | 8.61 - 14.4 | No | WP149
Ammonia (rerun) | SES | mg/l | 7.12 | 7.33 | 5.39 - 9.24 | Yes | WP151
Biochemical Oxygen Demand | SES | mg/l | 53.3 | 62.4 | 31.4 - 93.4 | Yes | WP149
Biochemical Oxygen Demand | I&SD | mg/l | 51 | 50 | 25.1 - 75.0 | Yes | WP150
Cadmium | SES | mg/l | 544 | 592 | 505 - 672 | Yes | WP149
Cadmium | EBL | mg/l | 588 | 592 | 505 - 672 | Yes | WP149
C dubia (IC25 Reproduction) | SES | % | 36.41 | 31.5 | 13.3 - 49.8 | Yes | DMRQA27
C dubia (NOEC Reproduction) | SES | % | 25 | 25 | 12.5 - 50.0 | Yes | DMRQA27
C dubia (NOEC Survival) | SES | % | 50 | 25 | 12.5 - 50.0 | Yes | DMRQA27
Chromium | SES | mg/l | 804 | 785 | 685 - 887 | Yes | WP149
Chromium | EBL | mg/l | 790 | 785 | 685 - 887 | Yes | WP149
Copper | SES | mg/l | 538 | 506 | 455 - 557 | Yes | WP149
Copper | EBL | mg/l | 500 | 506 | 455 - 557 | Yes | WP149
Fecal Coliform | I&SD | MPN/ 100ml | 920 | 706 | 105 - 4760 | Yes | WP150
Iron | SES | mg/l | 926 | 884 | 780 - 1000 | Yes | WP149
Iron | EBL | mg/l | 889 | 884 | 780 - 1000 | Yes | WP149
Lead | SES | mg/l | 274 | 266 | 228 - 303 | Yes | WP149
Lead | EBL | mg/l | 272 | 266 | 228 - 303 | Yes | WP149
Manganese | SES | mg/l | 614 | 591 | 530 - 657 | Yes | WP149
Manganese | EBL | mg/l | 598 | 591 | 530 - 657 | Yes | WP149
Mercury | SES | mg/l | 3.9 | 4.66 | 2.88 - 6.42 | Yes | WP149
Mercury | EBL | mg/l | 5.16 | 4.66 | 2.88 - 6.42 | Yes | WP149
Nickel | SES | mg/l | 1430 | 1380 | 1240 - 1540 | Yes | WP149
Nickel | EBL | mg/l | 1410 | 1380 | 1240 - 1540 | Yes | WP149
Oil & Grease | SES | mg/l | 44.8 | 55 | 36.0 - 66.5 | Yes | WP149
PH | I&SD | su | 5.94 | 6.01 | 5.81 - 6.21 | Yes | WP150
PH | EP&M | su | 7.13 | 7.15 | 6.95 - 7.35 | Yes | WP149
PH | WSMS | su | 5.72 | 5.7 | 5.50 - 5.90 | Yes | DMRQA27
Silver | SES | mg/l | 414 | 403 | 346 - 462 | Yes | WP149
Silver | EBL | mg/l | 413 | 403 | 346 - 462 | Yes | WP149
Total Residual Chlorine | EP&M | mg/l | 1.05 | 1.11 | 0.798 - 1.38 | Yes | WP149
Total Residual Chlorine | WSMS | mg/l | 1.25 | 1.32 | 0.948 - 1.64 | Yes | DMRQA27
Total Suspended Solids | SES | mg/l | 71.2 | 73.9 | 59.9 - 82.6 | Yes | WP149
Total Suspended Solids | I&SD | mg/l | 77.5 | 83.8 | 68.6 - 93.2 | Yes | WP150
Total Suspended Solids | EBL | mg/l | 74 | 73.9 | 59.9 - 82.6 | Yes | WP149
Zinc | SES | mg/l | 505 | 490 | 420 - 566 | Yes | WP149
Zinc | EBL | mg/l | 495 | 490 | 420 - 566 | Yes | WP149
SES = Shealy Environmental Services Laboratory
I&SD = Washington Savannah River Company Infrastructure & Services Department Laboratory
EBL = Washington Savannah River Company Environmental Bioassay Laboratory
EP&M = Washington Savannah River Company Environmental Permitting & Monitoring Field Laboratory
WSMS = Westinghouse Safety Management Solutions