## Sheet1
Tritium Transport in SRS Streams and the Savannah River
Direct Releases
Area | Release Point | 2004 | 2005 | 2006 | 2007 | 2008
Reactors
100-P | PAR Pond overflow to Lower Three Runs Creek (L3R-2) | 147 | 83 | 75 | 41 | 34
100-R | 105-R sumps to PAR Pond | 1 | 0 | 0 | 0 | 0
100-L | L-Lake overflow to Steel Creek (SC-4) | 52 | 38 | 38 | 68 | 54
100-L | Process sewer & reactor heat exchanger cooling water to L-Lake | (5)a | (4)a | (0)a | (1)a | (1)a
100-K | K-Canal | 1 | 0 | 0 | 1 | 1
| Subtotal | 201 | 121 | 113 | 110 | 89
Separations
200-F | Effluent to Four Mile Creek Effluent to Upper Three Runs | 1 0 | 1 0 | 1 1 | 1 0 | 1 0
200-H, S-Area, and Tritium | Effluent to Four Mile Creek Effluent to Upper Three Runs Effluent Treatment Facility | 4 12 537 | 3 3 198 | 5 2 92 | 6 2 132 | 3 5 222
| Subtotal | 554 | 205 | 101 | 141 | 231
A-Area
700-A | Effluent to Tims Branch (TB-2) | 1 | 0 | 0 | 0 | 0
| Subtotal | 1 | 0 | 0 | 0 | 0
Total Direct Releasesb |  | 756 | 326 | 214 | 251 | 320
a Not used in totals because the release was counted elsewhere
b Because of rounding, sums of individual columns might not equal totals
Stream Migration
Area |  | 2004 | 2005 | 2006 | 2007 | 2008
200-F&H | Soild Waste Disposal Facility and general Separations Area to Upper Three Runs | 215 | 75 | 94 | 54 | 20
200-F&H | Soild Waste Disposal Facility (FM3A-FM3) and H-Area seepage basin to Four Mile Creek 200-F seepage basin to Four Mile Creek 200-H seepage basin to Four Mile Creek | 253 526 211 | 592 630 242 | 657 69 171 | 333 154 74 | 494 71 131
100-K | 904-88G to Indian Grave Branch and Pen Branch | 722 | 641 | 439 | 431 | 500
| Total Migration | 1927 | 2180 | 1430 | 1066 | 1215
Total Direct Releases a and Migration |  | 2683 | 2506 | 1644 | 1317 | 1535
Stream Transport
Area |  | 2004 | 2005 | 2006 | 2007 | 2008
F & H | Upper Three Runs @ Road A (U3R-4) | 764 | 276 | 189 | 191 | 247
F & H | Four Mile Creek @ Road A-13 (FM-6) | 1100 | 1340 | 650 | 294 | 349
100-K | Pen Branch @ Road A (PB-3) | 722 | 641 | 439 | 431 | 501
100-L | Steel Creek @ Road A (SC-4) | 52 | 38 | 38 | 68 | 54
100-P | Lower Three Runs @ Road B (L3R-2) | 147 | 83 | 75 | 41 | 34
Total Transport a |  | 2785 | 2378 | 1391 | 1025 | 1185
River Transport
River Sample Point |  | 2004 | 2005 | 2006 | 2007 | 2008
Tritium measured in the Savannah River |  | 4670 | 5480 | 3830 | 2230 | 3140
below SRS (RM 118.8)b
Tritium measured in the Savannah River |  | 1040 | 994 | 502 | 292 | 481
above SRS (RM 160)
Tritium measured in the Savannah River |  | 3630 | 4480 | 3328 | 1938 | 2659
below SRS (RM 118.8)-(RM 160)b
a Because of rounding, sums of individual columns might not equal totals
b Includes 1,364 curies released from Plant Vogtle (release figure provided by Southern Nuclear/Georgia Power)