## Proficiency Testing
Discharge Monitoring Report - Proficiency Test Results
Parameter | Laboratory | Units | Reported Value | Assigned Value | Acceptance Limits | Acceptable (Yes, No) | Study Number
Aluminum (EPA 200.7) | SES | mg/l | 480 | 462 | 354 - 570 | Yes | WP161
Aluminum (EPA 200.8) | SES | mg/l | 489 | 462 | 354 - 570 | Yes | WP161
Aluminum (EPA 200.7) | EBL | mg/l | 652 | 640 | 504 - 774 | Yes | WP160
Aluminum (EPA 200.8) | EBL | mg/l | 648 | 640 | 504 - 774 | Yes | WP160
Ammonia | SES | mg/l | 12 | 14.3 | 10.6 - 17.7 | Yes | WP161
Biochemical Oxygen Demand | SES | mg/l | 90.2 | 67.7 | 34.1 - 101 | Yes | WP161
Biochemical Oxygen Demand | I&SD | mg/l | 109 | 84.1 | 42.5 - 126 | Yes | WP162
Cadmium (EPA 200.7) | SES | mg/l | 274 | 243 | 207 - 277 | Yes | WP161
Cadmium (EPA 200.8) | SES | mg/l | 227 | 243 | 207 - 277 | Yes | WP161
Cadmium (EPA 200.7) | EBL | mg/l | 378 | 375 | 320 - 426 | Yes | WP162
Cadmium (EPA 200.8) | EBL | mg/l | 345 | 375 | 320 - 426 | Yes | WP162
C dubia (IC25 Reproduction) | SES | % | 19.46 | 27.8 | 14.6 - 41.1 | Yes | DMRQA28
C dubia (NOEC Reproduction) | SES | % | 12.5 | 25 | 12.5 - 50.0 | Yes | DMRQA28
C dubia (NOEC Survival) | SES | % | 25 | 25 | 12.5 - 50.0 | Yes | DMRQA28
Chromium (EPA 200.7) | SES | mg/l | 902 | 879 | 767 - 993 | Yes | WP161
Chromium (EPA 200.8) | SES | mg/l | 892 | 879 | 767 - 993 | Yes | WP161
Chromium (EPA 200.7) | EBL | mg/l | 139 | 139 | 119 - 159 | Yes | WP160
Chromium (EPA 200.8) | EBL | mg/l | 144 | 139 | 119 - 159 | Yes | WP160
Copper (EPA 200.7) | SES | mg/l | 288 | 301 | 271 - 332 | Yes | WP161
Copper (EPA 200.8) | SES | mg/l | 306 | 301 | 271 - 332 | Yes | WP161
Copper (EPA 200.7) | EBL | mg/l | 510 | 513 | 462 - 564 | Yes | WP160
Copper (EPA 200.8) | EBL | mg/l | 526 | 513 | 462 - 564 | Yes | WP160
Fecal Coliform, E.coli | SES | MPN/ 100ml | 241 | 361 | 76.1 - 1720 | Yes | WP161
Iron (EPA 200.7) | SES | mg/l | 1470 | 1410 | 1250 - 1590 | Yes | WP161
Iron (EPA 200.8) | SES | mg/l | 1420 | 1410 | 1250 - 1590 | Yes | WP161
Iron (EPA 200.7) | EBL | mg/l | 1700 | 1700 | 1500 - 1920 | Yes | WP160
Lead (EPA 200.7) | SES | mg/l | 2130 | 1910 | 1680 - 2130 | Yes | WP161
Lead (EPA 200.8) | SES | mg/l | 1860 | 1910 | 1680 - 2130 | Yes | WP161
Lead (EPA 200.7) | EBL | mg/l | 601 | 599 | 522 - 673 | Yes | WP160
Lead (EPA 200.8) | EBL | mg/l | 589 | 599 | 522 - 673 | Yes | WP160
Manganese (EPA 200.7) | SES | mg/l | 629 | 590 | 529 - 655 | Yes | WP161
Manganese (EPA 200.8) | SES | mg/l | 602 | 590 | 529 - 655 | Yes | WP161
Manganese (EPA 200.7) | EBL | mg/l | 3000 | 2960 | 2660 - 3290 | Yes | WP160
Manganese (EPA 200.8) | EBL | mg/l | 3000 | 2960 | 2660 - 3290 | Yes | WP160
Mercury (1631) | SES | mg/l | 3.94 | 5.03 | 3.11 - 6.92 | Yes | WP161
Mercury (EPA 245.1) | SES | mg/l | 4.44 | 5.03 | 3.11 - 6.92 | Yes | WP161
Mercury (EPA 245.2) | EBL | mg/l | 20.4 | 19.1 | 11.7 - 25.8 | Yes | WP160
Nickel (EPA 200.7) | SES | mg/l | 891 | 833 | 752 - 931 | Yes | WP161
Nickel (EPA 200.8) | SES | mg/l | 851 | 833 | 752 - 931 | Yes | WP161
Nickel (EPA 200.7) | EBL | mg/l | 1420 | 1410 | 1270 - 1570 | Yes | WP160
Nickel (EPA 200.8) | EBL | mg/l | 1430 | 1410 | 1270 - 1570 | Yes | WP160
Oil & Grease | SES | mg/l | 32.6 | 41 | 25.2 - 51.1 | Yes | WP161
PH | I&SD | su | 6.65 | 6.68 | 6.48 - 6.88 | Yes | WP162
PH | EP&M | su | 6.62 | 6.69 | 6.49 - 6.89 | Yes | WP160
PH | WSMS | su | 6.97 | 6.8 | 6.60 - 7.00 | Yes | DMRQA28
Silver (EPA 200.7) | SES | mg/l | 383 | 385 | 330 - 441 | Yes | WP161
Silver (EPA 200.8) | SES | mg/l | 387 | 385 | 330 - 441 | Yes | WP161
Silver (EPA 200.7) | EBL | mg/l | 363 | 365 | 313 - 418 | Yes | WP160
Silver (EPA 200.8) | EBL | mg/l | 376 | 365 | 313 - 418 | Yes | WP160
Total Residual Chlorine | WSMS | mg/l | 0.78 | 0.792 | 0.573 - 0.992 | Yes | DMRQA28
Total Suspended Solids | SES | mg/l | 80.5 | 87.8 | 72.1 - 97.4 | Yes | WP161
Total Suspended Solids | I&SD | mg/l | 69 | 76 | 61.7 - 84.9 | Yes | WP162
Total Suspended Solids | EBL | mg/l | 89 | 92.4 | 76.2 - 102 | Yes | WP160
Zinc (EPA 200.7) | SES | mg/l | 689 | 663 | 569 - 763 | Yes | WP161
Zinc (EPA 200.8) | SES | mg/l | 649 | 663 | 569 - 763 | Yes | WP161
Zinc (EPA 200.7) | EBL | mg/l | 935 | 937 | 805 - 1080 | Yes | WP160
Zinc (EPA 200.8) | EBL | mg/l | 961 | 937 | 805 - 1080 | Yes | WP160
SES = Shealy Environmental Services Laboratory
I&SD = Washington Savannah River Company Infrastructure & Services Department Laboratory
EBL = Washington Savannah River Company Environmental Bioassay Laboratory
EP&M = Washington Savannah River Company Environmental Permitting & Monitoring Field Laboratory
WSMS = Westinghouse Safety Management Solutions