## 2011 data table 6-7
Data Table 6-7, Radioactive Liquid Releases by Site Stream - (Curies)
| Upper Three | Fourmile | Steel Creek + | Lower Three
| Runs | Branch | Pen Branch | Runs
Nuclide | A,M,F,H | F,H,Tritium | K,L | P,R | Totals
H-3a | 111 | 542.4 | 228.5 | 59.7 | 941.6
C-14 | 0.000407 | 0.010738 |  |  | 0.011145
Sr-90 |  | 0.0169 | 0.000365 | 0.012098 | 0.029363
Tc-99 |  | 0.010679 |  |  | 0.010679
I-129 |  | 0.0148 |  |  | 0.0148
Cs-137b | 0.000978 | 0.0242 | 0.007554 | 0.04774 | 0.080472
U-234 | 0.065338 | 0.0066917 |  | 0.0023851 | 0.074415
U-235 | 0.0030758 | 0.00042888 |  |  | 0.0035047
U-238 | 0.078624 | 0.007725 |  | 0.001625 | 0.087974
Np-237 |  | 3.556e-06 |  |  | 3.556e-06
Pu-238 | 1.5415e-05 | 0.00052103 |  | 0.00049374 | 0.0010302
Pu-239 | 2.45e-06 | 4.1408e-05 |  |  | 4.3858e-05
Am-241 | 1.6e-06 | 0.0004039 |  |  | 0.0004055
Cm-244 |  | 0.00039947 |  |  | 0.00039947
Alphac | 0.0031808 | 0.0095826 | 0.000699 |  | 0.013462
Beta-Gammad | 0.0047305 | 0.010608 | 0.0177 |  | 0.033038
Flow Volume (L) | 126000000000 | 9150000000 | 18400000000 | 24100000000
a) The tritium release total of 942 Ci (includes direct + migration releases) is used in the dose calclulations for SRS impacts.
The river transport total of 2,090 Ci, which includes cotributions from Plant Vogtle (1,370 Ci in 2011), is used for information only.
b) Depending on which value is higher, the Cs-137 release total is based on concentrations measured in RM 118.8 fish
or on the actual measured effluent release total from the site. Refer to chapter 6 (Dose) for more information.
c,d) For dose calculations, unspecified alpha and beta/gamma releases are assumed to be
Pu-239 and Sr-90, respectively.

## 6-7 Backup info
2011 Direct Effluent and Migration/Transport Releases Into Upper Three Runs (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
HP-15 (44) | 2.33 | [13 empty] | 2.63e-05 | 0.000296 | 255000000
H-004 (1782) | 0.24 | [5 empty] | 7.54e-06 | 2.62e-07 | 3.94e-07 |  | 2.65e-07 |  |  |  |  | 8.44e-05 | 29100000
U3R-2A (47) | 39.4 | 0.000407 |  |  |  | 0.000978 |  |  |  |  | 2.37e-08 |  |  |  | 5.12e-06 |  | 33100000
TB-3 (SDN-1328) | [8 empty] | 6.15e-06 |  |  |  | 1.6e-06 |  | 0.0012 | 0.000836 | 554000000
TB-2 (SDN-1) | 0.281 | [5 empty] | 0.00035 | 2.11e-05 | 0.000316 |  | 1.51e-05 | 2.45e-06 |  |  | 0.0019453 | 0.00348 | 751000000
S-004 (1740) | 0.0128 | [5 empty] | 1.89e-08 |  | 3.61e-08 |  | 2.65e-08 |  |  |  | 4.02e-06 | 3.41e-05 | 3090000
Migration/Transport into U3R | 68.3 | [5 empty] | 0.06498 | 0.0030544 | 0.078301 | [7 empty] | 126000000000
Totals | 110.5638 | 0.000407 | 0 | 0 | 0 | 0.000978 | 0.065338 | 0.0030758 | 0.078624 | 0 | 1.5415e-05 | 2.45e-06 | 1.6e-06 | 0 | 0.0031808 | 0.0047305 | 126000000000
2011 Direct Effluent and Migration/Transport Releases Into Four Mile Branch (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
FM-3 (12) | 0.159 | 0.0011 | 1.72e-05 | 4.86e-05 |  |  | 2.05e-05 | 8.08e-07 | 1.92e-05 | 1.86e-07 | 2.02e-06 | 5.54e-08 |  | 5.88e-07 | 9.3643e-05 | 0.000407 | 140000000
F-012 (1448) | 0.0385 |  | 0.000991 | 1.18e-05 |  | 0.000391 | 1.29e-08 |  | 1.92e-08 |  | 4.77e-07 | [5 empty] | 24400000
F-013 (1449) | 0.0282 |  | 4.78e-05 | 5.37e-06 |  |  | 2.49e-06 | 1.6e-07 | 2.8e-06 |  | 2.68e-07 | 6.93e-06 | 4.74e-07 | 2.16e-06 |  | 7.9e-05 | 19800000
F-05 (2416) | 0.00743 | 4.85e-05 | 0.000113 | 1.32e-05 |  |  | 1.73e-06 | 2.3e-08 | 2.3e-06 |  | 6.57e-08 | 2.29e-08 | 2.51e-07 | 6.02e-08 |  |  | 6800000
HP-52 (21) | 0.429 |  | 6.22e-05 |  |  | 0.00116 | 0.000106 | 5.52e-06 | 0.000102 |  | 1.22e-05 |  | 1.83e-05 | 5.9e-06 | 0.00726 | 0.00638 | 1900000000
FM-1C (10) | 3.58 | 0.00959 | 0.000204 |  |  |  | 2.09e-06 |  | 1.82e-06 | 3.37e-06 | 0.00023 | 1.24e-05 |  |  | 0.00196 | 0.003742 | 898000000
H-017 (1417) | 0.257 |  | 0.000266 | 2.6e-05 |  | 0.00316 | 8.86e-07 |  | 3.92e-08 |  | 0.000276 | 2.2e-05 | 1.63e-05 | 1.34e-06 | 0.000269 |  | 54500000
F Migration | 13 |  | 0.00373 | 0.00825 | 0.013126 | [11 empty] | 4770000000
H & SWDF Migration | 524.7669 |  | 0.011469 | 0.002324 | 0.0016738 | 0.01948 | [10 empty] | 3081000000
Transport into FMB | 377 | [5 empty] | 0.006558 | 0.00042236 | 0.0075977 |  |  |  | 0.0003682 | 0.00038942 |  |  | 9150000000
Totals | 542.266 | 0.010738 | 0.0169 | 0.010679 | 0.0148 | 0.024191 | 0.0066917 | 0.00042888 | 0.0077258 | 3.556e-06 | 0.00052103 | 4.1408e-05 | 0.00040353 | 0.00039947 | 0.0095826 | 0.010608 | 9150000000
2011 Direct Effluent and Migration/Transport Releases Into Steel Creek and Pen Branch (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
K-Canal (1443) | 0.323 |  |  |  |  | 0.00755 | [10 empty] | 2710000000
PB-3 (36) - Migration in PB | 197 | [15 empty] | 7150000000
L-07 (1455) | 1.42 |  | 0.000365 | [11 empty] | 0.000699 | 0.0177 | 8140000000
SC-4 (30) - Transport in SC | 31.5 | [15 empty] | 11200000000
Totals | 228.5 |  | 0.000365 |  |  | 0.00755 | [8 empty] | 0.000699 | 0.0177 | 18350000000
2011 Transport Releases Into Lower Three Runs (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
L3R-2 (2) - Transport in L3R | 59.7 |  | 0.012098 |  |  | 0.0477 | 0.0023868 |  | 0.0016263 |  | 0.00049374 | [5 empty] | 24100000000
Totals | 59.7 |  | 0.012098 |  |  | 0.0477 | 0.0023868 |  | 0.0016263 |  | 0.00049374 | [5 empty] | 24100000000