## NPDES Dup
Data Table 8-3, NPDES Duplicate Sample Results
EML = Environmental Monitoring Laboratory, SES = Shealy Environmental Services
Date | NPDES Site | Laboratory | Parameter | Units | Outfall Value | Duplicate Value | Relative % Difference | Relative Percent Difference (< 20 %)
2011-01-04 | A-11 | EML | Total Suspended Solids | mg/L | <1 | <1 |  | Yes
2011-01-04 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 |  | Yes
2011-02-01 | H-16 | SES | Biochemical Oxygen Demand | mg/L | 4.9 | 4.4 | 10.75% | Yes
2011-02-01 | H-16 | SES | Total Suspended Solids | mg/L | <1 | <1 |  | Yes
2011-02-09 | A-01 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0% | Yes
2011-02-09 | A-01 | EML | Iron | mg/L | 0.0834 | 0.0953 | 13.32% | Yes
2011-02-09 | H-12 | EML | Copper | mg/L | 0.0119 | 0.0138 | 14.79% | Yes
2011-02-09 | H-12 | EML | Zinc | mg/L | 0.0296 | 0.031 | 4.62% | Yes
2011-02-09 | A-01 | SES | Oil & Grease | mg/L | <2.4 | <2.4 |  | Yes
2011-02-09 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 |  | Yes
2011-03-07 | A-1A | SES | Trichloroethylene | µg/L | <2 | <2 |  | Yes
2011-03-07 | A-1A | SES | Tetrachloroethylene | µg/L | <2 | <2 |  | Yes
2011-03-07 | M-05 | SES | Trichloroethylene | µg/L | <2 | <2 |  | Yes
2011-03-07 | M-05 | SES | Tetrachloroethylene | µg/L | <2 | <2 |  | Yes
2011-04-11 | A-11 | SES | Low Level Mercury | ng/L | 2.75 | 2.38 | 14.42% | Yes
2011-04-18 | H-16 | SES | Cadmium | mg/L | <0.0001 | <0.0001 |  | Yes
2011-04-18 | H-16 | SES | Chromium | mg/L | <0.005 | <0.005 |  | Yes
2011-04-18 | H-16 | SES | Copper | mg/L | <0.005 | <0.005 |  | Yes
2011-04-18 | H-16 | SES | Lead | mg/L | <0.002 | <0.002 |  | Yes
2011-04-18 | H-16 | SES | Nickel | mg/L | <0.01 | <0.01 |  | Yes
2011-04-18 | H-16 | SES | Silver | mg/L | <0.005 | <0.005 |  | Yes
2011-04-18 | H-16 | SES | Zinc | mg/L | 0.0053 | 0.005 | 5.825% | Yes
2011-04-18 | H-16 | SES | Mercury | mg/L | <0.00010 | <0.00010 |  | Yes
2011-05-02 | A-1A | SES | Trichloroethylene | µg/L | <2 | <2 |  | Yes
2011-05-02 | A-1A | SES | Tetrachloroethylene | µg/L | <2 | <2 |  | Yes
2011-05-03 | A-11 | SES | Low Level Mercury | ng/L | 9.27 | 9.46 | 2.029% | Yes
2011-05-10 | F-08 | EML | Lead | mg/L | <0.0020 | <0.0020 |  | Yes
2011-05-10 | F-08 | EML | Zinc | mg/L | 0.0609 | 0.0604 | 0.8244% | Yes
2011-06-02 | A-11 | EML | Total Suspended Solids | mg/L | <1 | <1 |  | Yes
2011-06-02 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 |  | Yes
2011-06-02 | M-05 | SES | Tetrachloroethylene | µg/L | <2 | <2 |  | Yes
2011-06-02 | M-05 | SES | Trichloroethylene | µg/L | <2 | <2 |  | Yes
2011-06-08 | L-07 | EML | Total Suspended Solids | mg/L | <1 | <1 |  | Yes
2011-06-08 | K-18 | EML | Total Suspended Solids | mg/L | 3 | 2 | 40% | No
2011-06-09 | H-12 | EML | Copper | mg/L | 0.0231 | 0.0229 | 0.8696% | Yes
2011-06-09 | H-12 | EML | Zinc | mg/L | 0.0722 | 0.0714 | 1.114% | Yes
2011-07-06 | A-01 | SES | Oil & Grease | mg/L | <2.7 | <2.6 |  | Yes
2011-07-07 | A-11 | EML | Total Suspended Solids | mg/L | 1 | 1 | 0% | Yes
2011-07-07 | A-01 | EML | Total Suspended Solids | mg/L | 3 | 2 | 40% | No
2011-07-07 | A-01 | EML | Iron | mg/L | 0.8513 | 1.1348 | 28.55% | No
2011-08-02 | A-01 | SES | Oil & Grease | mg/L | <2.5 | <2.5 |  | Yes
2011-08-03 | A-01 | EML | Total Suspended Solids | mg/L | 2 | 2 | 0% | Yes
2011-08-03 | A-01 | EML | Iron | mg/L | 0.5326 | 0.5318 | 0.1503% | Yes
2011-08-09 | H-02 | EML | Copper | mg/L | 0.0079 | 0.008 | 1.258% | Yes
2011-08-09 | H-02 | EML | Lead | mg/L | <0.0020 | <0.0020 |  | Yes
2011-08-09 | H-02 | EML | Zinc | mg/L | <0.0100 | <0.0100 |  | Yes
2011-09-14 | H-02 | EML | Copper | mg/L | 0.0127 | 0.0127 | 0% | Yes
2011-09-14 | H-02 | EML | Lead | mg/L | <0.002 | <0.002 |  | Yes
2011-09-14 | H-02 | EML | Zinc | mg/L | <0.0100 | <0.011 |  | Yes
2011-10-26 | K-18 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 |  | Yes
2011-11-16 | H-12 | EML | Copper | mg/L | 0.0068 | 0.0062 | 9.231% | Yes
2011-11-16 | H-12 | EML | Zinc | mg/L | 0.0327 | 0.0313 | 4.375% | Yes
2011-12-14 | H-02 | EML | Copper | mg/L | 0.0089 | 0.0096 | 7.568% | Yes
2011-12-14 | H-02 | EML | Lead | mg/L | <0.0020 | <0.0020 |  | Yes
2011-12-14 | H-02 | EML | Zinc | mg/L | <0.010 | <0.010 |  | Yes
2011-08-03 | A-01 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 |  | Yes
2011-08-02 | A-01 | SES | Oil & Grease | mg/L | <2.5 | <2.5 |  | Yes
2011-09-08 | A-11 | SES | Low Level Mercury | ng/L | 1.93 | 1.99 | 3.061% | Yes
2011-10-06 | A-11 | SES | Low Level Mercury | ng/L | 2.59 | <0.500 | 135.3% | No
2011-10-26 | L-07 | EML | Total Suspended Solids | mg/L | <1.0 | <1.0 |  | Yes
2011-10-24 | H-16 | SES | Biochemical Oxygen Demand | mg/L | <2.0 | <2.0 |  | Yes
2011-10-24 | H-16 | SES | Total Suspended Solids | mg/L | <1.0 | <1.0 |  | Yes
2011-11-08 | M-05 | SES | Tetrachloroethylene | µg/L | <2 | <2 |  | Yes
2011-11-08 | M-05 | SES | Trichloroethylene | µg/L | <2 | <2 |  | Yes
2011-11-16 | F-08 | EML | Lead | mg/L | <0.0020 | <0.0020 |  | Yes
2011-11-16 | F-08 | EML | Zinc | mg/L | 0.0569 | 0.0585 | 2.773% | Yes
2011-12-06 | A-1A | SES | Trichloroethylene | µg/L | <2 | <2 |  | Yes
2011-12-06 | A-1A | SES | Tetrachloroethylene | µg/L | <2 | <2 |  | Yes
2011-07-07 | A-01 | SES | Biochemical Oxygen Demand | mg/L | 2.2 | 2.8 | 24% | No
2011-07-07 | A-11 | SES | Biochemical Oxygen Demand | mg/L | <2 | <2 |  | Yes
2011-08-09 | H-16 | SES | Cadmium | mg/l | <0.0001 | <0.0001 |  | Yes
2011-08-09 | H-16 | SES | Chromium | mg/l | <0.005 | <0.005 |  | Yes
2011-08-09 | H-16 | SES | Copper | mg/l | <0.005 | <0.005 |  | Yes
2011-08-09 | H-16 | SES | Lead | mg/l | <0.002 | <0.002 |  | Yes
2011-08-09 | H-16 | SES | Nickel | mg/l | <0.01 | <0.01 |  | Yes
2011-08-09 | H-16 | SES | Silver | mg/l | <0.005 | <0.005 |  | Yes
2011-08-09 | H-16 | SES | Zinc | mg/l | <0.005 | <0.005 |  | Yes
2011-08-09 | H-16 | SES | Mercury | mg/l | <0.00010 | <0.00010 |  | Yes