## 2013 data table 6-7
Data Table 6-7, Radioactive Liquid Releases by Site Stream - (Curies)
| Upper Three | Fourmile | Steel Creek + | Lower Three
| Runs | Branch | Pen Branch | Runs
Nuclide | A,M,F,H | F,H,Tritium | K,L | P,R | Totals
H-3a | 201 | 562.1 | 237.1 | 81.3 | 1081.5
C-14 | 0.000302 | 0.005827 |  |  | 0.006129
Sr-90 | 3.85e-06 | 0.0239 |  |  | 0.023904
Tc-99 |  | 0.018461 |  |  | 0.018461
I-129 |  | 0.027015 |  |  | 0.027015
Cs-137b | 0.00257 | 0.011654 |  |  | 0.0334
U-234 | 0.04531 | 5.533e-05 |  |  | 0.045366
U-235 | 0.0026274 | 1.2e-06 |  |  | 0.0026286
U-238 | 0.054907 | 6.0545e-05 |  |  | 0.054968
Np-237 |  | 5.05e-07 |  |  | 5.05e-07
Pu-238 | 3.279e-06 | 0.00062379 |  |  | 0.00062707
Pu-239 | 4.862e-07 | 4.757e-05 |  |  | 4.8056e-05
Am-241 | 0.0042164 | 5.2879e-05 |  |  | 0.0042693
Cm-244 |  | 2.2265e-05 |  |  | 2.2265e-05
Alphac | 0.00054788 | 0.0046285 |  |  | 0.0051763
Beta-Gammad | 0.002638 | 0.0095326 | 0.02898 |  | 0.041151
Flow Volume (L) | 174000000000 | 16100000000 | 31600000000 | 38400000000
a) The tritium release total includes direct + migration releases which are used in the dose calclulations for SRS impacts.
b) Depending on which value is higher, the Cs-137 release total is based on concentrations measured in RM 118.8 fish
or on the actual measured effluent release total from the site. Refer to chapter 6 (Dose) for more information.
c,d) For dose calculations, unspecified alpha and beta/gamma releases are assumed to be
Pu-239 and Sr-90, respectively.

## 6-7 Backup data
2013 Direct Effluent and Migration/Transport Releases Into Upper Three Runs (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
HP-15 (44) | 4.78 |  | 0 |  |  | 0 | [8 empty] | 0 | 0.000406 | 378000000
H-004 (1782) | 12.6 |  | 0 |  |  | 0 | 0.000169 | 6.95e-06 | 1.77e-05 |  | 4.74e-07 | 0 |  |  | 9.8876e-05 | 0.000897 | 994000000
U3R-2A (47) | 25.4 | 0.000302 | 3.85e-06 |  |  | 0.00257 | 2.36e-08 | 3.59e-08 | 3.38e-08 | 0 | 1.15e-07 | 5.42e-08 | 0 | 0 | 0 | 0 | 26700000
TB-2 (SDN-1) | 0.124 | [5 empty] | 4.63e-05 | 4.22e-06 | 2.11e-05 |  | 1.62e-06 | 4.32e-07 |  |  | 0.00041533 | 0.000616 | 405000000
S-004 (SDN 1740) | 0.229 |  | 0 |  |  | 0 | 1.37e-06 | 0 | 2.88e-06 |  | 1.07e-06 | 0 |  |  | 3.368e-05 | 0.000719 | 52000000
Migration into U3R | 157.867 |  | 0 |  |  | 0 | 0.045094 | 0.0026162 | 0.054866 |  |  |  | 0.0042164 |  |  |  | 174000000000
Totals | 201 | 0.000302 | 3.85e-06 | 0 | 0 | 0.00257 | 0.04531 | 0.0026274 | 0.054907 | 0 | 3.279e-06 | 4.862e-07 | 0.0042164 | 0 | 0.00054788 | 0.002638 | 174000000000 | (U3R-4 flow)
2013 Direct Effluent and Migration/Transport Releases Into Four Mile Branch (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
FM-3 (SDN 12) | 0.187 | 0.000459 | 0 | 0.000192 | 0 | 0 | 2.81e-05 | 1.2e-06 | 2.59e-05 | 2.67e-07 | 9.08e-07 | 1.11e-06 | 8.77e-07 | 8.8e-07 | 0.00018776 | 0.000482 | 197000000
F-012 (SDN 1448) | 0.109 |  | 0.000303 | 5.86e-05 | 0 | 0.000864 | 1.54e-06 | 0 | 0 | 0 | 9.66e-07 | 0 | 0 | 0 | 3.4194e-05 | 0.00015 | 90600000
F-013 (SDN 1449) | 0.0475 |  | 1.38e-05 | 5.54e-06 | 6.18e-06 | 0 | 1.83e-06 | 0 | 1.69e-06 | 0 | 3.65e-07 | 8.12e-07 | 2.86e-07 | 6.73e-07 | 0 | 9.74e-05 | 26700000
F-05 (SDN 2416) | 0.011 | 2.8e-05 | 6.69e-05 | 4.86e-06 | 8.71e-06 | 0 | 6.9e-07 | 0 | 8.35e-07 | 0 | 1.63e-07 | 4.76e-08 | 2.56e-07 | 1.65e-08 | 1.819e-07 | 5.42e-05 | 14400000
HP-52 (21) | 0.969 |  | 9.05e-05 |  |  | 0 | 1.52e-05 | 0 | 1.3e-05 |  | 7.39e-06 | 0 | 1.78e-06 | 0 | 0.00075663 | 0.002569 | 416000000
FM-1C (10) | 8.55 | 0.00534 | 0.0011 |  |  | 0 | 6.49e-06 | 0 | 1.87e-05 | 2.38e-07 | 0.000468 | 3.36e-05 | 4.42e-05 | 2.01e-05 | 0.0036387 | 0.00618 | 1780000000
H-017 (1417) | 0.374 |  | 0.00131 | 0.000177 | 5.19e-06 | 0.00829 | 1.48e-06 | 0 | 4.2e-07 | 0 | 0.000146 | 1.2e-05 | 5.48e-06 | 5.96e-07 | 1.1024e-05 | 0 | 137000000
F Migration | 49.1 |  | 0.002327 | 0 | 0.01992 | 0.0025 | [10 empty] | 9562000000
H #4 & SWDF Migration | 391.6455 |  | 0.0001893 | 0 | 0 | 0 | [10 empty] | 374890000
H-Seepage Migration | 111.107 |  | 0.018499 | 0.018023 | 0.0070748 | 0 | [10 empty] | 7188000000
Totals | 562.1 | 0.005827 | 0.0239 | 0.018461 | 0.027015 | 0.011654 | 5.533e-05 | 1.2e-06 | 6.0545e-05 | 5.05e-07 | 0.00062379 | 4.757e-05 | 5.2879e-05 | 2.2265e-05 | 0.0046285 | 0.0095326 | 16100000000 | (FM-6 flow)
2013 Direct Effluent and Migration/Transport Releases Into Steel Creek and Pen Branch (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
K-Canal (1443) | 0.367 |  | 0 |  |  | 0 | [8 empty] | 0 | 0.00188 | 836000000
PB-3 (36) - Migration in PB | 202 | [15 empty] | 14900000000
L-07 (1455) | 4.05 |  | 0 |  |  | 0 | [8 empty] | 0 | 0.0271 | 13500000000
SC-4 (30) - Transport in SC | 35.1 | [15 empty] | 16700000000
Totals | 237.1 |  | 0 |  |  | 0 | [8 empty] | 0 | 0.02898 | 31600000000
2013 Transport Releases Into Lower Three Runs (Curies)
Volume
| H-3 | C-14 | Sr-90 | Tc-99 | I-129 | Cs-137 | U-234 | U-235 | U-238 | Np-237 | Pu-238 | Pu-239 | Am-241 | Cm-244 | Alpha | Beta | (Liters)
L3R-2 (2) - Transport in L3R | 81.3 |  |  |  |  | 0 | [10 empty] | 38400000000
Totals | 81.3 |  |  |  |  | 0 | [10 empty] | 38400000000